233/3

CHEMISTRY PAPER 3

FORM 4

CONFIDENTIAL

In addition to the equipment and fittings in the Chemistry laboratory, each candidate will require:

- Solid R (5.0g of oxalic acid in a boiling tube. (Accurately weighed)

- 100cm3 solution Q (0.25M NaOH)

- Thermometer (-10oC – 110oC)

- One 50ml burette

- Filter funnel

- Pipette and pipette filler

- One label

- 250ml volumetric flask

- 2 pieces 250ml conical flask

- About 500ml of distilled water

- Bunsen burner

- 0.5 of solid S (maleic acid)

- 6 test-tubes in a rack

- Two boiling tubes

- Test tube holder

- 1.0g solid T (PbCO3 and ZnSO4 mixture ratio 1:1)

- Filter paper (Whatman)

- 1cm length polished magnesium ribbon

- PH chart scale

Access to the following

- Phenolphthalein indicator supplied with a dropper

- 2.0M NaOH supplied with a dropper.

- 2.0M NH3(aq) supplied with a dropper.

- 2.0M dilute nitric acid supplied with a dropper

- Lead (II) nitrate solution supplied with a dropper

- Acidified Barium nitrate solution supplied with a dropper.

- Potassium iodide solution supplied with a dropper.

- Acidified potassium manganate (VII) supplied with a dropper

- Universal indicator

NOTES:	PREPARATIONS

- Acidified Barium nitrate is prepared by weighing dissolving 26.0g of Ba(NO3) in 600m3 of distilled water.  Add 250cm3 of 2MHNO3 and topping up to 1 litre with distilled water.

- Acidified potassium manganate (VII) is prepared by dissolving 3.16g of solid KMnO4 in 400cm3 of 1m H2SO4 and making it to one litre with distilled water.

- Lead nitrate dissolve 33.1g in 800cm3 distilled water and make it to one litre.

- Solution Q is prepared by accurately weighing 10.0g of sodium hydroxide pellets and dissolving and topping up to 1 litre.

- 2M NaOH prepared by dissolving 80g of NaOH pellets in 800cm3 of distilled water and top up to 1 litre.

- 2M NH3(aq) measuring 298cm3 of ammonia solution top up to 1 litre.  Label the solution aqueous ammonia (2MNH3(aq)